## Slide 1: Automated Domestic Water Supply Control System
Group Number 04

## Slide 2: Content
Introduction
Sketch of the System
Functional Requirements
Non-Functional Requirements
User Roles
Hardware Requirements
Software Requirements
Methodology
Layout of the Android app
Project Plan

## Slide 3: Introduction
An alternative for manual Domestic Water Supply System
Easier to use
Able to monitor current status of the system
Displays the History of water consumption

## Slide 4: Sketch of the System

## Slide 5: Functional Requirements
Take the information about the water tank and its dimensions from the user
Take user preference about source and water level range
Allow the user to turn on/off the Out Valve of the water tank.
The Mobile app should display the current status of the system.
As the user’s choice the system should automatically refill the tank when needed.

## Slide 6: Non-Functional Requirements
User should be able to connect to the system.
The system should be accessible from anywhere within the house.
Average water filling speed calculation of water pump and Water Board supply should be accurate.
When the user stops filling the tank, system should respond immediately.
It should not allow unauthorized parties to access the system.
The mobile app interfaces should be well organized and understandable.

## Slide 7: User Roles
The user can control the system by his/her smart phone.
The user can insert the dimensions of the water tank and setting the low level and the high level of the water tank.
The user can turn on/off the National Water Board supply, water pump of the well, water out valve via mobile app.
The user can allow the system to maintain the water level by itself as user choice.

## Slide 8: Hardware Requirements
For prototype the domestic water supply system
  Water Containers
  Pipe network
  Mini Electric Solenoid Valve
  Mini Water Pump
For building the Automated system
  Node MCU
  Ultrasonic sensor
  Jumper Wires
  Project Board

## Slide 9: Software Requirements
Android Studio
Arduino IDE

## Slide 10: Methodology
Development divided into 2 main parts.
Hardware system.
  Build the Prototype of the water supply system
  We don’t have to use relay modules because we use low voltages power sources for pumps and valves.
Android mobile app.
  We planned to use waterfall model to develop the mobile app.

## Slide 11: Layout of the android app
Setup Stage (Only for the first time when initiating the system)
Take water tank type
Take Dimensions of the tank
Take Details about automated Controlling
Control
Automated Controlling
Manual Controlling
Information
Daily/ monthly water consumption
Average speed of water sources
Current State

## Slide 12: Project plan
Stage | Duration |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | FEB |  | MARCH |  |  |  | APRIL |  |  |  | MAY |  |  |  | 
 | W1 | W2 | W3 | W4 | W5 | W6 | W7 | W8 | W9 | W10 | W11 | W12 | W13 | W14 | W15
Requirement Gathering and Defining the scope |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Submit proposal and presentation |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Requirements Analysis and Specification |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
System design |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Interface (mobile app) design |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Gathering Hardware Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Development session 1 (build hardware prototype) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Interface (mobile app) implementation |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Development session 2 (Functionality implementation) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Integration and testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Scope review and improvements |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Final testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Documentation |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 13: Group Members
Registration Number | Name
UWU/CST/15/006 | Chandrapala A.G.N.C
UWU/CST/15/021 | Krishnagobal S.
UWU/CST/15/036 | Priyadarshana L.P.K.R
UWU/CST/15/053 | Weerathunge W.M.S. H.

## Slide 14: Thank You